## Instructions
QC Only Form
INSTRUCTIONS:
1-If you submit samples for BOTH Qubit and TapeStation Analysis, please provide Nanodrop reading.
2-If you know the concentration of your samples by Qubit, please dilute samples to appropriate concentration range (Refer to 1st table; Upper end of range recommended)
3-Provide an aliquot of your sample of at least 3 uL in 8-well PCR strip tubes
4-Please code your samples on the side of the PCR strip tubes with your initials and sequential numbers. Label your initial on the top of the PCR-strip tubes
5-Please note: concentrations determined by nanodrop are often an overestimation and the actual concentration of your desired sample may be less. Please try not to bring us a concentration reading at the lower end of the scale. (Refer to table.)
6-Electronic versions of completed manifests should be saved in the following format: YYMMDD_PI_YourFirstName_TapeQubit_Manifest
7-QC Forms must be emailed to SampleSubmission@salk.edu and cc Manching (MC) Ku, mku@salk.edu prior to sample submission
8-Once approved, please coordinate with SampleSubmission@salk.edu to drop off samples.
9-Please visit http://ngs.salk.edu/contact.php for our location.
Nucleic Acid | Tape Station Assay | Description | Concentration Range | Size Range (bp) | Max. # Samples per Tape
RNA | RNA Tape | RNA Screen Tape | 5-500 ng/uL | 50-600 | 15
| HS RNA Tape | High Sensitivity RNA Screen Tape | 0.1-10 ng/uL | 50-600 | 15
DNA | DNA Tape | D1000 Screen Tape | 0.1-50 ng/uL | 35-1000 | 15
| HS DNA Tape | High Sensitivity D1000 Screen Tape | 0.01-1 ng/uL | 35-1000 | 15
| Genomic Tape | Genomic DNA Screen Tape | 10-100 ng/uL | 200-15000 | 15
TapeStation will yield a RIN.
Please note: one lane on the TapeStation has to be used for a ladder (RNA or DNA)
Nucleic Acid | Qubit Assay | Description | Concentration Range | Sample Types
RNA | BR RNA | Qubit Broad Range RNA | 1-1000 ng/uL | RNA
| HS RNA | Qubit High Sensitivity RNA | 0.25-100 ng/uL | RNA from limited samples
DNA | BR DNA | Qubit Broad Range DNA | 0.1-1000ng/uL | Genomic, dsDNA
| HS DNA | Qubit High Sensitivity DNA | 10-100 pg/uL | dsDNA, ChIP
Note: We do not have Qubit Assays for single stranded DNA (ssDNA)

## Sample_Information
QC Only Form
Date of Sample Submission
Institute/Company Name
PI Name
Lab Acronym
Contact Name
Contact Email
Contact Phone Number
Fund Number
TapeStation Assay Requested
Qubit Assay Requested
Total number of samples
Sample Code (initials, sequential numbers, max. 5 characters) | Sample Name (initials, sequential numbers, max. 20 characters) | Nucleic Acid (DNA/RNA) | Nanodrop Conc. (ng/ul) | Volume (ul) | Qubit Conc. (ng/ul) | RIN (NGS use only) | Comment
NGS1 | Example_NGS1 | RNA | 0.38 | 3 |  |  | EXAMPLE ONLY
NGS2 | Example_NGS2 | DNA | 100 | 3 |  |  | EXAMPLE ONLY