## Instructions
PacBio Sequel II Library+Sequencing Form
Instructions for Submitting Samples:
1. Please fill out all relevant information in the second sheet of this workbook
2. Sample Code: Please code samples on your sample tube with your initials and sequential numbers. (i.e., NGS1, NGS2, NGS3, etc.)
3. Sample Name: Sequencing data will be linked to Sample Name
o Sample Name can ONLY be named with alphabets, numbers, underscores, and not more than 20 characters respectively. (No space, +.,!@#$%^& etc.)
4. Please submit 5 µl of samples in 8-well PCR strip tubes for QC (Qubit AND Agilent Tape Station if not already done so).
o Please provide nanodrop if Qubit concentration is not available.
o Please fill out Qubit results and attach TapeStation results if you have already done QC.
5. Please submit stock samples in 1.5 mL eppendorf tubes (low-binding preferred) with sample code written on top of tube and date in the format of MM/DD/YY (i.e., NGS1 11/15/19).
6. Electronic versions of completed forms should be saved in the following format: YYMMDD_PI_YourFirstName_LibrarySEQ_Form
7. Please send the submission to SampleSubmission@salk.edu. Once approved, please drop off samples during sample drop off time.
8. Samples that do not meet the requirement may not yield successful libraries and researchers will be responsible for the costs.
9. Due to limited storage space, any remaining samples will be discarded one year after the completion of library prep.
10. Sample Retrieval: Please send your request along with the corresponding sample submission form to SampleSubmission@salk.edu. We will notify when your samples are ready.
Sample Submission Requirements for SMRT bell Template Prep
Application | Input | Total Input | Concentration (determined by Qubit) | QC | Comments
Iso-Seq (full length transcript RNA-Seq) | Total RNA | > 700ng | 50-200 ng/µl | A260/280=1.8-2.0 A260/230=2.0-2.2 RIN > 8 | Resuspend in RNase-free water
| cDNA | > 1 µg |  | cDNA Profile (Tapestaion or Bioanalyzer) | Resuspend in EB or low EDTA TE
WGS, ~10kb, CLR | HMW gDNA | > 5µg | 50-200 ng/µl | A260/280=1.8-2.0 A260/230=2.0-2.2 PFGE images for gDNA | Resuspend in EB or low EDTA TE. **DNA should be at high quality and sufficient quantity since there is no amplification step.
WGS, >15 kb, CLR |  | > 15 µg
WGS, >30 kb, CLR |  | > 25 µg | 25-200 ng/µl
High Fidelity (HiFi), 10-15kb, CCS |  | > 15 µg | 100-500 ng/µl
Purified PCR products/ Multiplexed amplicons | Amplicon Size | Input DNA Mass per Amplicon Pool | Required Conc. per Amplicon Pool | Size Distribution (Tapestaion or Bioanalyzer) | Resuspend in EB or low EDTA TE
| 250-500 bp | 1 ug | 15-100 ng/µl
| 500-1000 bp | 1 ug | 15-100 ng/µl
| 1-3 kb | 2 ug | 30-200 ng/µl
| 3-10 kb | 4 ug | 50-400 ng/µl
| 15 kb | 6 ug | 150-600 ng/µl
• Use low bind microcentrifuge tubes whenever possible.
Things to Avoid
• Freeze-thaw cycles.
• High temperatures (>65°C) for 1 hour.
• pH extremes (<6 or >9).
• Contamination of insoluble material, RNA, or any carryover contamination from the starting organism/tissuee.
• Divalent metal cations (like Mg 2+), denaturants (like guanidinium salts, phenol), or detergents (like SDS, Triton-X100)
• Exposure to intercalating fluorescent dyes or UV radiation.

## Sample_Information
PacBio Sequel II Library+Sequencing Form |  |  |  |  | * Please read sample submission instructions carefully on the first sheet.
Date of sample submission
PI Name
Institute
Lab Acronym
Contact Name |  |  |  |  | Note:
Contact Email
Contact Phone Number
Fund Number/PO#
*Service Types | SMRT bell template prep and Sequencing
*Sample type submitted |  | (i.e. gDNA, Amplicons, Total RNA)
*Number of Samples Submitted
Sample QC for Template Prep
RNA/DNA QC Required? | Please Select
If "Yes (Other)", please specify |  | ➥ If "no", you will require to provide following:
• Nanodrop Absorbance Ratios (Enter values below)
SMRTbell Template Prep |  | • Bioanalyzer/TapeStation for total RNA/cDNA/Amplicons
Library Types | Please select from dropdown list | • PFGE images for gDNA
*Number of Samples Submitted
Multiplexing Required? |  |  |  | ➥ Samples already barcoded? |  |  |  |  | <- Select from dropdown menu
*Number of Samples Submitted |  |  |  | barcode type? |  |  |  |  | <- Select from dropdown menu
|  |  |  | Specify Barcode Type |  |  |  |  | <- Select from dropdown menu
Data Processing |  |  | *If you are barcoding your samplesp before submitting for template prep, all pooling must be performed prior to submission.
CCS Processing Required?
Sample Code Labeled on tubes (Initial, sequential numbers, max. 5 characters) | Sample Name Linked to data (only numbers, alphabets, underscores, max. 20 characters) | Nanodrop Conc. (ng/ul) | Qubit Conc. (ng/uL) | RIN/DIN# | Volume (ul) | Total ng | 260/280 | 260/230 | # of SMRT cells needed | Movie Times (Hours) | Pooling arrangement (for multiplexing) | size range (i.e.PFGE, bioanalyzer) | *organism | size of genome | DNA/RNA source (bacterial, liver, blood, etc) | Isolation/ extraction method | Comment
NGS01 | 191112_Example1 |  | 100 |  | 100 | 10000 | 1.9 | 2.15 | 1 | 30 hr | 50%
NGS02 | 191112_Example2 |  | 50 |  | 100 | 5000 | 1.87 | 2.09 |  |  | 50%
NGS03 | 191112_Example3 |  | 200 | 9.5 | 100 | 20000 | 1.95 | 2.11 | 1 | 30 hr | 100%

## Sheet1 (hidden)
Please Select
yes
no
Please select from dropdown list | Standard 384 PacBio 16-bp barcode sequences
SMRT bell template prep and Sequencing | Custom
SMRT bell template prep only
Sequel II Sequencing only | Symmetric
Asymmetric
Please select from dropdown list
Genomic CLR Library
Low Input gDNA WGS
High Fidelity (HiFi) Library Prep
Iso-Seq Library-Standard
Iso-Seq Library-Focus on Long Transcripts
Purified PCR products, Multiplexed amplicons
Please Select Binding kit
Sequel II Binding and Int Ctrl Kit 1.0
Sequel II Bind Kit 2.0 and Int Ctrl 1.0
Sequel II Bind Kit 2.1 and Int Ctrl 1.0
WGS for De Novo Assembly Using CLR
Low Input gDNA WGS
HiFi Library for Variant Detection or WGS De Novo Assembly
Iso-Seq Library-Standard
Iso-Seq Library-Focus on Long Transcripts
Please Select
Yes (Full Service)
Yes (Other)
No